## ITAM Devices Managed
Description | Life Expectancy | Quantity
MONITOR | 6 | 1139581
LAPTOP OR TABLET | 3 | 417904
DESKTOP | 4 | 355848
PRINTER | 4 | 129433
SMART PHONE | 3 | 94789
NETWORKING DEVICE | 5 | 66790
CELL PHONE | 3 | 62602
SCANNER | 8 | 45979
MEDICAL LAPTOP OR TABLET | 3 | 29660
SERVER | 4 | 13675
VTC DEVICE | 5 | 9107
PAGER | 5 | 7392
TELEPHONE | 10 | 4273
MEDICAL DESKTOP | 3 | 4170
MEDICAL PRINTER | 4 | 3967
MEDICAL MONITOR | 6 | 3931
STORAGE DEVICE | 4 | 3878
STORAGE NETWORK UNIT, EXTERNAL, COMPUTER SYSTEM | 5 | 3728
UPS | 15 | 3552
AIRCARD, HOTSPOT, OR MODEM | 4 | 3490
COMPUTER THIN CLIENT | 4 | 3108
WORKSTATION COMPUTER | 15 | 2310
MONITOR TELEVISION | 8 | 1865
RECEIVER TELEVISION | 8 | 1488
PRINTER DIGITAL SPECTROPH | 10 | 1448
RECEIVER-TRANSMITER KIT AUDITORY (WIRELESS) | 10 | 1228
SWITCHER SIGNAL DIST TV | 6 | 1194
CONFERENCE PHONE | 3 | 1187
MEDICAL SERVER | 4 | 1153
COPYING MACHINE | 7 | 1152
MULTIPLEXER COMPUTER SYS | 5 | 1033
SCANNER, MEDICAL | 8 | 1004
PRINTING MACHINE LABEL | 10 | 979
COPYING&DUP MACH THERMOGR | 10 | 921
FACSMILE MACHINE | 8 | 845
RECEIVER-TRANSMIT RADIO | 12 | 823
SURVEILLANCE SYS CLSDCRCT TV | 5 | 727
LASER PRINTER IMAGING FILM | 7 | 698
MAINFRAME | 7 | 676
SWITCH ELEC PSYCHO&AUDIO | 10 | 625
CAMERA TELEVISION | 10 | 609
COPYING MACH THERMOGRAPHIC | 7 | 575
OPTICAL DRIVE | 4 | 550
CAMERA-RECORDING VIDEO | 20 | 488
PRINTING&APPLY MACH LABEL | 15 | 482
KVM | 5 | 410
CAMERA STILL PICTURE | 10 | 314
DOCUMENT STORAGE SYSTEM | 8 | 313
MEDICAL CART | 6 | 290
METER IMPEDANCE | 10 | 257
COPYING MACH DIRECT ELECT | 7 | 232
MEDICAL PERSONAL DIGITAL ASSISTANT (PDA) | 3 | 228
TEST SET FBROPTIC CBLNET | 10 | 223
PROJECTOR | 8 | 210
STEPPING SWITCH ELEC DATA | 13 | 182
SCANNER LASER ORTHOPEDIC | 8 | 179
PROJECTOR VIDEO | 8 | 177
DATA TELECOMMUNICATION SYS SATELLITE | 10 | 162
REFRIGERATOR-FREEZER FOOD | 15 | 160
SATELLITE PHONE | 5 | 158
TEST SET INTEGR LOG CIRC | 10 | 143
DISPENSING MACH ADH LABEL | 12 | 139
VIDEO DISTRIBUT SYS AUTO | 15 | 130
DESK & CHART RACK NURSTAT | 20 | 117
KIOSK | 8 | 112
SAFE | 30 | 106
RECORDER-REPRODUCER VIDEO | 8 | 101
SHREDDING MACHINE PAPER COMMERCIAL OFFICE | 15 | 92
FINGERPRINT SYSTEM | 10 | 88
BATTERY POWER SUPPLY | 15 | 84
TESTER AUDIO CABLE ASSY | 10 | 78
ENTERPRISE MASS NOTIFSYS | 10 | 76
X-RAY APPARATUS DENTAL | 10 | 74
TRANSMITTER RADIO | 15 | 72
MONITOR TEMPERATURE | 13 | 72
GUN PELLET | 20 | 70
TRANSMITTER RADIO PGNGSYS | 15 | 70
HDD DESTRUCTION SYSTEM | 10 | 70
PRINTER PHOTO FLM SLD ID | 10 | 69
CENTRAL DICT SYS COMPTRZD | 8 | 67
BOARD VISUAL COMMUNICATION | 20 | 66
RADIOG-FLUOR IMAGING SYST | 10 | 62
TELEVISION RADIO COMBINAT | 10 | 62
PHOTOGRAPHIC ID SYSTEM | 10 | 62
SHELF-POWER LINE PROTECTOR | 15 | 62
SOFTWARE OVER $5K | 4 | 59
COPYING MACH DUAL SPECTRUM | 7 | 58
STORAGE & RETRIEVAL SYS | 10 | 57
CHARGING UNT ASSY LIBRARY | 20 | 57
OVEN MICROWAVE | 10 | 53
CLEANER VACUUM ELECTRIC | 10 | 53
RECEIVER RADIO FREQUENCY | 6 | 53
READER VERIF CREDIT CARD | 10 | 52
ANALYZER LOGIC DIGIT CIRCT | 10 | 52
CAMERA SYS STORAGE DIGITAL | 15 | 48
CONVERTER - GRAPHIC TO DIGITAL | 8 | 48
MEDIA DUPLICATOR | 4 | 45
CONVERTER SIGNAL DATA | 10 | 44
AMPLIFIER RADIO FREQENCY | 10 | 43
PRINTER CONTACT PHOTOGRAPH | 10 | 42
DRILL HAMMER ELECTRIC POR | 10 | 41
DEGAUSSER | 15 | 41
LIFT TRANSFER PATIENT | 13 | 40
IMAGE DIGIT SYS COMP RAD | 7 | 40
POWER SUPP ELECT/CAUTERY | 15 | 38
CONTROLLER ELECTRICAL CURRENT | 15 | 37
RESPIRATOR AIR LINE | 5 | 36
ENCODER READ MAGNETIC STR | 13 | 36
SWITCH ASSY ELECTRO-CATH | 10 | 36
RECEIVER-PROJECTOR SET TV | 10 | 35
TRUCK HAND FILE TRANSPORT | 15 | 35
TELECOM DVC HEARSPEECH IMP | 10 | 35
VOICE MAIL SYSTEM | 8 | 34
PUBLIC ADDRESS SET | 13 | 33
TRUCK PERSONNEL OR CARGO | 5 | 32
SHELTER ENVIROMENTAL CNTRL | 15 | 32
RECODER-STORES VIDEO CHARACTER | 10 | 31
REFRIGERATOR FOOD (COMM) | 12 | 30
POWER SUPP UNGROUND HOSP | 15 | 29
CONTROL SYS TV PROD MODULE | 10 | 29
CONTROL SYS AUD-VIS LECTR | 10 | 29
PLOTTER | 7 | 28
CABINET MEDICINE COMBINE | 5 | 27
CONTROL RECEIVER-TRANSMIT | 6 | 27
DISPLAY SYSTEM STEREO HEAD MOUNTED | 3 | 27
TRUCK HAND PHARMACEUTICAL | 20 | 26
COMPRESSOR VIDEO SIGNALS | 10 | 26
PRINTING PRESS GRAPHIC ART | 25 | 24
PHOTOCOPY & PROCESS MACH | 8 | 23
ANALYZER SPECTRUM METER TYPE | 10 | 23
PANEL TEST ELECTRICAL | 10 | 22
TRUCK HAND LIFT | 10 | 22
DETECTOR LEAK ELECTRI CIR | 10 | 21
ENCODER COLOR TELEVISION | 6 | 21
CART EXER-DYNA ACCESSORY | 10 | 20
ALARM MONITOR TELEPHONE | 10 | 19
POSTAGE METER | 15 | 19
ADHESIVE APPLYING MACHLBL | 20 | 19
DETECTOR METAL | 10 | 18
RACK STORAGE FOOD MIX MACH | 10 | 18
CAMERA MOTION PICTURE | 10 | 17
TESTER ELECT ELECTROMEDIC | 15 | 17
TESTER POWER TOOL PORTABLE | 13 | 17
POSITIONER VIDEO IMAGES | 8 | 17
JACK DOLLY TYPE HYDRAULIC | 13 | 16
CONTROLLER COPY&DUP MACH | 15 | 16
TEST SET ELECIRCU PLUG IN | 10 | 16
RADIACMETER | 7 | 15
RECORDER/REPRODUCER DEVICE | 10 | 15
RADIO SOUND REPRO COMBO | 10 | 15
TRANSMITTER DATA BARCODNG | 10 | 15
BATTERY STORAGE HVY DUTY | 15 | 15
PATIENT DATA MANGMNT SYS | 10 | 14
VACUUM HEAD VACUUM CLEANER | 10 | 14
COMPRESSOR RECIPROCATING | 18 | 14
CELL GAS TRANSMIS MANOMTR | 10 | 14
TRUCK HAND SHELF | 15 | 13
LOCKING DEVICE ASSESS CON | 15 | 13
VOLTMETER ELECTRONIC | 15 | 13
VOCATIONAL TRAIN&EVAL SYS | 20 | 13
RECEIVER RECORDING SET TV | 8 | 12
LIFT EQUIP-MATL NONSLFPROP | 20 | 12
AUDIOMETRIC MODULAR SYSTEM | 10 | 12
PRINTER VIDEO/PHOTO | 7 | 12
PUMP INJECT & WITHDRAWAL | 15 | 11
MONITOR CARDIAC | 8 | 11
SOUND READER MOT PIC FILM | 10 | 11
LOAD BANK ELECTRICAL | 10 | 11
TELEPHONE CART WARD | 15 | 11
SWITCHER SIGNAL DIST TV | 10 | 11
MONITOR TEMP & BLD PRESS | 13 | 10
MONITOR PATIENT IN BED | 10 | 10
CAMERA PROCESSOR MICROFLM | 10 | 10
CART VISUAL STIMULUS UNIT | 15 | 10
SWITCHER PRODUCTION TV | 6 | 10
DISPLAY PANEL ELEC DATA | 13 | 10
TESTER REC RECV TRANS GRP | 10 | 10
METER RECRD ELECDATA ACQU | 13 | 10
VIEWER FILLER MICROFILM | 10 | 10
MONITOR CARDIAC & RESPIRA | 8 | 9
CABINET SURG INST & SUPPLY | 15 | 9
GAME VIDEO HOME TYPE | 15 | 9
MIXER MICROPHONE | 10 | 9
SCOOTER MOTOR | 8 | 9
PROJECTOR VIEWER STL PIC | 10 | 9
TRUCK HAND SECURITY TRANSP | 20 | 9
SHREDDER SCRAP UPHOLSTERY | 15 | 9
CONSOLE AUDIO MIXING | 10 | 9
AMPLIFIER VIDEO DISTRIBUT | 10 | 9
GENERATOR TV CHARACTER | 5 | 9
GAGE GENERAL MEAS ELECTRO | 10 | 9
COMPUTER DIG PHOTON CNTNG | 10 | 9
CABINET MED DISPEND TRAY | 15 | 8
GENERATOR SET ELECTRICAL | 20 | 8
ANALYZER, DNA AMPLIFICATION | 10 | 8
HAMMER ELECTRIC PORTABLE | 10 | 8
ANAEROBIC CHAMBER LAB ANAEROBE COLLECTION-CU | 10 | 8
CONVERTER TV CHANNELS | 6 | 8
PRINTER PHYSIOLOGICAL DATA | 10 | 8
TV RADIO PHONOGRAPH COMB | 10 | 8
POWER SUPP BLT CINE-VIDEO | 15 | 8
PROCESSOR ANALOG PARAMETER | 10 | 8
CONDITIONER BOWLING ALLEY | 15 | 8
MEDIA CLEANING UNIT | 8 | 8
MULTIPLIER-DIVIDER FREQUE | 10 | 8
REFRIGERATOR BIOLOGICALS | 15 | 7
CABINET ASSEMBLY PHARMACY STORAGE & RETRIEVAL AUTO | 15 | 7
FREEZER MECHANICAL FOOD | 10 | 7
GASTROSCOPE | 5 | 7
CART ANESTHESIOLOGY EQUIP | 10 | 7
LIGHT ENDOSCOPIC INSTR FIBER OPTIC | 10 | 7
RECORDER STORE CARDIACDATA | 13 | 7
PRESS LAMINATING PROT COV | 15 | 7
CAMERA ASSEMBLY CRT | 10 | 7
DATA INTERFACE LABORATORY | 10 | 7
LIGHT ASSEMBLY PHOTOGRAPH | 10 | 7
ANALYZER SIG DATA MULTICH | 10 | 7
PROJECTOR MOT PIC SLN/SND | 12 | 7
AMPLIFIER ELECTRONIC CNTR | 10 | 7
TESTER OPHTHALM TONOMETER | 10 | 7
TESTER MATERIAL STRENGTH | 15 | 7
PAGE TURNER BOOK PATIENT | 13 | 7
DEFIBRILLATOR CARDIAC | 8 | 6
PACKAGING MACH PHARM UNTDS/INDIVIDUAL PRESCRIPTION | 15 | 6
ANALYZER, MICROBIOLOGY | 10 | 6
SANITIZER HOSP&INDV EQUIP | 15 | 6
ALARM SYSTEM PERSONNEL | 10 | 6
TRUCK CARGO | 9 | 6
PICTURE ARCHIVING COM SYS | 10 | 6
DRILLING MACHINE UPRIGHT | 24 | 6
STAMP TIME | 9 | 6
COFFEE MAKER BREWING AUTO | 10 | 6
CONSOLE CENTRAL STA PHYSY | 10 | 6
ANALYZER SYS RETINAL COMP | 10 | 6
PROCESSOR CELL LABORATORY | 10 | 6
REFRIGER FREEZER&MICROWAVE | 15 | 6
SWITCHBOX ELEC THERMIMETER | 10 | 6
ENGRAVING MACH PANTOGRAPH | 10 | 6
COMPUTER BODY TEMPERATURE | 10 | 6
METER FIELD STRENGTH | 13 | 6
DICTATE RELAY PANEL | 10 | 6
DETECTOR INTEG PHOTOMETRIC | 10 | 6
CRUSHER SWING HAMMER | 10 | 6
MONITOR TEMP-PULS-BLDPRES | 13 | 5
ULTRASONIC UNT DIAG HUMAN | 8 | 5
SCALE PERSON WEIGHING | 10 | 5
CART CRDV RESUS EQUIPTMENT | 10 | 5
DEFIBRILLATOR CARDIOSCOPE | 8 | 5
TV SYSTEM ENDOSCOPIC INSTR | 6 | 5
TRANSMITTER PHYS MONI SYS TELEMETRY | 13 | 5
SPECTROPHOTOMETER CLINICAL CHEM ANALYZER | 10 | 5
CAMERA SYS PHTOMICROGRAPH | 15 | 5
DRIVER PROJECTILE UNIT | 20 | 5
TV SYSTEM HANDICAPPED PAT | 8 | 5
RECORDER DIGITAL FILM | 10 | 5
OVEN FOOD WARMING ELECTRO | 10 | 5
CAMERA & PROJECT PRINTER | 10 | 5
CALIBRATOR METER ELECTRIC | 10 | 5
AMPLIFIER VIDEO PROCESSING | 6 | 5
AMPLIFIER DIRECT CURRENT | 10 | 5
IMAGE ENHANCER TV CAMERA | 8 | 5
PROJECTOR ILLUM TNGT SCRN | 10 | 5
TEST APPTCOMPCHIP&MEMMOD | 25 | 5
VIEWER PRINTER PROJ PHOTO | 10 | 5
TOWER & STRIKER UNT RECRE RING THE DONG | 13 | 5
TEST SET DISPTERM COMPSYS | 10 | 5
CHECK CERTIFYING MACHINE | 10 | 5
ANALYZER CHEMISTRY | 10 | 4
CART ENDOSCOPY | 10 | 4
SEALING MACHINE HEAT | 5 | 4
LASER DEVICE | 10 | 4
INVERTER-CHARGER STRGBATT | 10 | 4
WORK STATION SURGGLV PACK | 13 | 4
PROBE SYS INTRACELLULAR | 10 | 4
MONITOR EYE MOVEMENT OPTH | 13 | 4
CARDIAC CATH LAB DATA SYS | 10 | 4
METER AIR VELOCITY | 13 | 4
SPECT-CT-GAMMA CAMERA SYS TOMOGRAPHIC IMAGING | 10 | 4
GAME VIDEO ARCADE | 15 | 4
CHARGER RADIAC DETECTOR | 10 | 4
FOLDING MACHINE PAPER | 10 | 4
SCALE MAIL & PARCEL POST | 10 | 4
MAIL PROCESSING MACH ELEC | 15 | 4
SCOOTER MOTOR HANDICAPPED | 10 | 4
RECEIVER RECORDER ELECTRO | 12 | 4
PROJECTOR RCDER REPRO SND | 10 | 4
POWER DATA ACQUISITION | 15 | 4
TOOL KIT PLUMBER | 10 | 4
AMPLIFIER ELECTROPHYSIOLOG | 10 | 4
CONVERTER PROCE FILM-VIDEO | 10 | 4
REGULATOR VOLTAGE | 15 | 4
SHAMPOOING MACH UPHOLSTERY | 10 | 4
GRAPHIC ARTS PRODUCT SYS MEDICAL EDUCATION | 10 | 4
GRANULATOR PLASTICS PROC | 15 | 4
PHYSIOLOGICAL MONSYS INTCR | 8 | 3
SPEECH SYNTHESIZER | 8 | 3
CART-TABLE SURGICAL INSTR | 15 | 3
CAMERA OPHTHALMIC | 10 | 3
TRUCK CARRYALL | 6 | 3
AIR CLEANER ELECTROSTATIC | 15 | 3
TRUCK LIFT FORK | 10 | 3
TRUCK PALLET POWERED | 15 | 3
TRAILER UTILITY | 10 | 3
ANALYZER BLOOD TISSUE | 10 | 3
PAD ALTERNATE PRESS POINT | 5 | 3
PROBE-AMP ELECTRIC CURRENT | 15 | 3
TRAILER VAN | 7 | 3
VACUUM PUMP RECIPROCATING | 15 | 3
HEADSET-MICROPHONE | 10 | 3
GENERATOR SIGNAL | 13 | 3
GENERATOR BLOWER SET | 10 | 3
PLATFORM WORK | 20 | 3
PLAYBACK UNIT ELECTROCARD | 12 | 3
RADIO RECRDR REPRO COMBO | 10 | 3
PRINTER DIG DATA ACQU LAB | 10 | 3
COUNTER VERIFIER CURRENCY | 10 | 3
REPEATER RADIO SIGNAL | 15 | 3
CAMERA COPYING LITHOGRAPH | 12 | 3
RECORDER REPRO SND & VIBR | 10 | 3
CHECK ENDORSING MACHINE | 10 | 3
FIBER MULTIPLEXER | 5 | 3
CENTRIFUGE LABORATORY | 10 | 2
COMPRESSION UNT INTERMIT | 13 | 2
SUCTION APPARATUS SURGICAL | 10 | 2
MANIKIN RESUSCITATION TRAINING | 6 | 2
INCUBATOR BACTERIOLOGICAL | 15 | 2
CABINET STORE FLAMME LQDS | 15 | 2
SCALE PERSON IN CHAIR WEI | 10 | 2
PHYSIOLOGICAL SYS TELEMET | 8 | 2
LIGHT ELCTRODIAGNSTC INST | 10 | 2
RECORDER PHYSIOLOGIC DATA | 13 | 2
DRILL BONE ELECTRIC | 13 | 2
FAN CICULATING CEILING | 10 | 2
TRANSFORMER POWER | 20 | 2
SIGN EXTERIOR NONILLUMINA | 10 | 2
RECEIVER-TRANSMIT MICROWV | 15 | 2
HUMIDIFIER-DEHUM SLFCONT | 15 | 2
COMPRESSOR ROTARY PWRDRVN | 18 | 2
TRUCK PASSENG ALL TERRAIN | 12 | 2
MAGNETIC RESONANCE IMAGING MRI | 10 | 2
DRIER CARPET-RUG ELECTRIC | 10 | 2
BIOFEEDBACK DATA MGMT SYS | 10 | 2
VIEWER DISPLAY UNT VISION | 10 | 2
OVEN FOOD WARMING ELECTRIC | 10 | 2
AMPLIFIER MUSICAL INSTRMN | 13 | 2
EMBOSSING UNT ADDR ID PLT COMPUTERIZED | 8 | 2
SCALE COUNT MULTI APPLIC | 10 | 2
TRANSMITTER CARD MON SYS | 12 | 2
OXIMETER NETWORK | 10 | 2
THERMOGRAPHIC IMAGE DIAGN | 10 | 2
TEST PWR LINE DISTURB DET | 10 | 2
HOLDER KEY AUTOMATED | 20 | 2
STAND LECTURE ELEC ADJUST | 20 | 2
HYGROTHERMOGRAPH | 10 | 2
RECORDER REPRO AUDIO SPEC | 10 | 2
TRAINING AID DIGITAL COMP | 13 | 2
WRAPPING MACHINE PROD PKG | 10 | 2
WORK STAT ELECT CONTROL | 10 | 2
SIGNAL SELECTOR ELEC DATA | 13 | 2
CALIBRATION SET AUDIOMETER | 13 | 2
SHAPER WOODWORKING | 15 | 2
CARDIOSCOPE | 10 | 2
TRAINER AUTO DRIVING | 15 | 2
CABINET STORAGE GAMES | 15 | 2
PRINTER WEIGHT SCALE | 10 | 2
REELING MACH CABLE & HOSE | 15 | 2
RECORDER REPRO BRAIL SND | 8 | 2
BOARD VISUAL CTL MAG TYPE | 20 | 2
EMBOSSING MACH ADDR PLATE NONCOMPUTERIZED | 10 | 2
SCREEN SPLITTER TELEVISION | 10 | 2
DRIER INFRARED | 10 | 2
JUKE BOX | 10 | 2
TESTES MOTOR PHASE & ROTA | 10 | 2
DUPLICATE MACH SLIDE FLM | 10 | 2
RESISTOR DECADE | 10 | 2
ENVELOPE STUFFING MACHINE | 13 | 2
PROCESSOR COLOR TRANS-LAMI | 10 | 2
VACUUM APP TRAF SIGN FACE | 10 | 2
FILTER BAND PASS | 15 | 2
MICROFILMER | 10 | 2
STORER NEUROLOGICAL DATA | 10 | 2
GENERATOR WORD DATA COMMAND | 6 | 2
PRINT WASHER PHOTOGRAPHIC | 10 | 2
BED FRACTURE | 15 | 2
PUMP INJECTION | 8 | 1
BED ADJUSTABLE | 12 | 1
OXIMETER | 13 | 1
AIR FILTER UNIT MICRON PT | 15 | 1
REFRIGERATOR LABORATORY | 12 | 1
1
SCALE DIAL/DIGITAL INDICA | 10 | 1
TRUCK FOOD SERVICE | 10 | 1
ENDOSCOPIC ULTRA DIAGHUMAN | 8 | 1
CONTROLLER DROP RATE IVAD | 10 | 1
UROLOGICAL INVEST SYSTEM | 10 | 1
LENS MEASURING INSTR OPHT | 13 | 1
AIR CONDITIONER AUTOMOBILE | 6 | 1
PHYSIOLOGICAL SYS OPER RM | 8 | 1
LAPAROSCOPE | 13 | 1
ULTRASONIC UNT DIAGN OPTH | 8 | 1
PHOROPTER | 10 | 1
ACOUSTIC TEST SYSTEM | 10 | 1
DECONTAMINATOR AIR | 10 | 1
PROJECTOR VISUAL ACUI TST | 10 | 1
EXERCISER WALKING THERAPY | 10 | 1
TRUCK VAN | 7 | 1
DISPENSER ICE & WATER REFR | 10 | 1
OVEN BAKING & ROASTING | 15 | 1
BRIDGE EAR ACCOUSTIC FUNC | 13 | 1
CLEANER VACUUM IN/OUTDOOR | 10 | 1
ELECTROPHORESIS APPARATUS | 10 | 1
METER FLOW RATE INDICATING | 13 | 1
TOMOGRAPHIC IMAGING SYSTEM | 10 | 1
CHAIR ELEV SEAT PATIENT | 15 | 1
ANALYZER, COAGULATION | 13 | 1
STETHOSCOPE ELECTRONIC | 10 | 1
TESTER OXIMETER | 8 | 1
GENERATOR NOISE AUDIOMASK | 10 | 1
ELECTROMYOGRAPH | 13 | 1
ANALYZER ELECTROSURGICAL | 12 | 1
THERMOMETER RECORD HUMAN | 6 | 1
PIANO | 19 | 1
CABINET ORTHOPEDIC SUPPLY | 15 | 1
SAW RECIPROCATING PORTABLE | 15 | 1
MAGNIFIER DERMATOLOGIC | 8 | 1
CONTROL TEMP INDICATING | 15 | 1
AMPLIFIER PHYSIOLOGICAL | 10 | 1
TRUCK AUTOMATIC TRANS SYS | 10 | 1
SAW BAND METAL CUTTING | 15 | 1
COUNTER DRUG DISPENSING | 20 | 1
SCALE INDUSTRIAL WEIGHING | 10 | 1
MUSCLE TENS-RELAX FEEDBCK | 15 | 1
CHAIR TILTING ELECTRIC | 15 | 1
X-RAY APPARATUS TOMO-RADIO | 10 | 1
FOOD TRAY PREPARE ASSY | 15 | 1
COLPOSCOPE | 13 | 1
PUMP LAB SOLUTION METERNG | 10 | 1
SAW BAND PORT POWER DRIVEN | 15 | 1
LINEAR ACCELERATOR RADIO THERAPY SYSTEM | 10 | 1
CABINET DEL & STORE PASTRY | 20 | 1
ANALYZER-CONDITIONER BATT | 10 | 1
OUTLET BOX MULT RECEPTACLE | 15 | 1
CLEANER VACUUM PNEUMATIC | 10 | 1
ELECTROPHYSIOLOGY EVOKED | 10 | 1
CUTTER & VAC ORTHO CAST | 10 | 1
CABINET CATHETER | 20 | 1
SIGNATURE REPRODUCING MACH | 15 | 1
WHEELCHAIR MOTORIZED | 10 | 1
VIDEODENSITOMETRY SYS XRAY | 10 | 1
DRIVE ASSY CART-TRUCK HND | 20 | 1
ELECTROMYOGRAPH-STIM THRPY | 13 | 1
SUPPORT STAND ALONE | 20 | 1
OCULAR FLUOROPHOTOMETER | 10 | 1
COMMUNICATOR PHYSI HNDCAP | 15 | 1
MEASURING SYSTEM LASER | 10 | 1
WATTMETER | 15 | 1
RAD-PHON-REC-REP COMBO | 10 | 1
SAFETY UNT SML ARMS TRAINING | 10 | 1
ANALYZER OPTICAL MULTICHA | 10 | 1
DISPLAY CASE MECH REFRIGE | 12 | 1
HEART RATE CONTROL | 15 | 1
FREQUENCY METER | 13 | 1
STOVE BAKERS | 15 | 1
CONTROL-MONITOR ELECMANAG | 10 | 1
RADIATION THRPY PLAN SYS | 5 | 1
TESTER MICRO ELECTRODE | 15 | 1
ICE CRUSHING MACH ELECTRIC | 10 | 1
ORTHOSIS APPARATUS | 13 | 1
MAILING SHIP MANGMT SYSTM | 10 | 1
CARDIOVERTER UNIT | 12 | 1
RELAY AUDIO VOICE RESPONSE | 10 | 1
TRACTOR WHEELED WAREHOUSE | 15 | 1
TRANSMITTER ALRM SYSMEDCL | 10 | 1
METER ACOUSTIC INTENSITY | 10 | 1
PROTOTYPING FABRICA SYST | 10 | 1
STAND CAMERA PHOTO STUDIO | 15 | 1
TEST SET INSULATION BRKDWN | 10 | 1
PULLER CABLE TYPE CONDUIT | 20 | 1
GRINDING-CUTTING SYSTEM | 13 | 1
CONVERTER OPTL SND BLIND | 15 | 1
RETINAL DETACHMENT APPARA | 13 | 1
METER AQUEOUS FLOW OPHTHAL | 15 | 1
TRACKER VIDEO PHYSIOLOGIC | 10 | 1
CALIBRATOR ENVIRON SENSOR | 7 | 1
CABINET TYPE-FORM FURNITURE | 20 | 1
DISPENSER GUM TAPE ELECTR | 7 | 1
CASTING MACH DENTAL METALS | 13 | 1
VISION TEST-RECORD APP ELECTRODIAGNOSTIC | 13 | 1
CART CHEMICAL SPILL | 10 | 1
ENVELOPE OPEN MACH ELEC | 13 | 1
MARKING MACHINE LAUNDRY | 15 | 1
METER PEAK FLOW RESPIRATR | 13 | 1
MAIL SORT-WEIGH MACH ELEC | 15 | 1
TELEPHONE AUTO DIALING | 5 | 1
METER NULL PORTABLE TYPE | 15 | 1
METER PHOTOGRAPH EXPOSURE | 10 | 1
VIDEO OUTLINER ART & TITLE | 5 | 1
MEASURING SYS MAGNET FLDS | 20 | 1
PRINTER X-RAY ID FILM | 10 | 1
ADDRESS LABEL APPLY MACH | 12 | 1
ANALYZER ECHOCARDIOGRAM | 12 | 1
CALIBRATOR VOLTAGE | 10 | 1
TESTER FLASH SYNCHRONIZER | 10 | 1
VIEWER MOTION PICTURE FLM | 10 | 1
POINTER LECTURE ELECTRIC | 10 | 1
DETECTOR ELECTROMAGNETIC | 7 | 1
DISPLAY CASE PASTRY/SALAD | 10 | 1
RACK STORAGE FIRE HOSE | 20 | 1
EDITING SYSTEM VIDEO TAPE | 10 | 1
MOLD TOTE BOXES AND LIDS | 25 | 1
MAINTENANCE OUTFIT ELECTRO | 15 | 1
CRUSHER BOT-CAN-DISP ITEMS | 10 | 1
ANALYZER PROTOCOL | 10 | 1
BROILER ELECTRIC | 10 | 1
STRIPPER WIRE POWER OPER | 10 | 1
ABDOMINAL BOARD GYMNASTIC | 20 | 1
RECORDER ELERET & ELE-OCG | 13 | 1
CABINET PHOTOMICROG EQUIP | 20 | 1
EMBOSSING MACH ID TAPE | 10 | 1
CONVERTER WAVE FORM AUDIO | 10 | 1
BACKSTOP GAME | 15 | 1
ADDRESS LABEL APPLY MACH | 10 | 1